PHYSICAL DUE DILIGENCE

HOUSE INSPECTION CHECKLIST  -DEVELOPED PROPERTY PURCHASE

- Date of Inspection:

- Property Address:

- Inspector’s name:

- Duration of Inspection

INSTRUCTIONS

Tick ✅ when inspected and OK. Note issues in the "Comments" column. Take photos of everything and video.

1.	 EXTERIOR – ticked means okay

i.  [ ] Foundation: cracks, settling, water stains, efflorescence

ii.  [ ] Walls/Siding: cracks, gaps, rot, paint condition, signs of water intrusion

iii. [ ] Windows & Doors: operation, seals, caulking, broken glass, fogging panes

iv. [ ] Gutters & Downspouts: clogs, leaks, drainage direction

v. [ ] Grading & Drainage: slopes away from house? Standing water or poor runoff?

vi [ ] Decks/Porches/Veranda: rot, railings, attachment, unstable steps etc

vii [ ] Landscaping: trees/shrubs too close?

Comments:…………………………………….

2. 	ROOF- ticked means okay

i. [ ] Roof covering (shingles/tiles): age, missing, curled, cracked, leaks

ii. [ ] Flashing & Valleys: seals around vents/chimney , rust, gaps loose seals

iii. [ ] Eaves/Soffits/Fascia: rot, ventilation

iv. [ ] Skylights/Vents: leaks, condition

v. [ ] Attic (if accessible): water stains, insulation, pests

Comments:…………………………………….

3. 	INTERIOR STRUCTURE

i.  [ ] Floors: level, squeaks, soft spots, cracks  (tiles) or water stain

ii. [ ] Walls & Ceilings: cracks, water stains, mold, bulging

iii. [ ] Doors: operation, alignment

iv. [ ] Stairs & Railings: secure, even treads , handrail security

v. [ ] Attic: access, insulation, ventilation, wiring, pest evidence

vi. [ ] Basement/Crawlspace: moisture, mold, sump pump, pest, insulation

vii [ ] Garage: fire door, cracks, drainage

Comments:…………………………………….

4.	 PLUMBING

i.  [ ] Water pressure (all faucets/showers) -strong and consistent

ii.  [ ] Drains: flow, gurgling, backups

iii. [ ] Visible pipes: corrosion, leaks, material type  , pressure, capacity

iv. [ ] Water heater: age, rust, leaks, operation

v. [ ] Toilets: stable, flush, no leaks  at the base

vi. [ ] Sinks/Tubs: leaks, caulking, shut-offs  valve working

vii ( )  Sewer/Septic (if applicable):

Comments:…………………………………….

5. 	ELECTRICAL

i.  [ ] Panel: Adequate amperage, labelled breakers, condition etc

ii.[ ] Wiring: type (knob-and-tube/aluminum?), damage or exposed wires

iii. [ ] Outlets & Switches: GFCI in wet areas, working test with outlet testers

iv. [ ] Lights & Fixtures: all functional  not flickering

v. [ ] Smoke & CO Detectors: present and working

Comments:…………………………………….

6. 	HVAC (Heat, ventilation, air conditioning)

i.  [ ] Furnace/AC: age, last service, noise, airflow

ii.  [ ] Ducts: leaks, insulation, cleanliness

iii. [ ] Thermostat: operation

iv.  [ ] Vents & Registers: airflow

Comments:…………………………………….

7.	 KITCHEN

i. [ ] Cabinets & Counters: damage, water stains , secure etc

ii. [ ] Appliances (if included): test oven, stove, dishwasher, fridge etc

iii. [ ] Sink & Disposal: leaks, drainage, operations

iv. [ ] Range hood: vents outside

Comments:…………………………………….

8.	 BATHROOMS

i.  [ ] Tiles/Grout: cracks, loose tiles, missing grout

ii. [ ] Caulking: around tub/shower/sink

iii. [ ] Exhaust fan: works and vents outside

v. [ ] Fixtures: pressure, leaks, hot water

Comments:…………………………………….

9. 	ADDITIONAL FEATURES

- [ ] Fireplaces: damper, chimney

- [ ] Security systems / Smart home features : test connectivity-elect doors

- [ ] Pool/Spa (if any) : Equipment, leaks, safety barriers

- [ ] Outbuildings/Sheds : Condition if included

Comments:…………………………………….

10. 	SAFETY & RED FLAGS

i.  [ ] Pest evidence (termites, rodents, ants)

ii. [ ] Mold, asbestos, lead paint risk  if any

iii. [ ] Radon (test recommended) :

iv. [ ] Emergency egress (bedroom windows) :

v. [ ] Utility shut-offs located and tested

vi. [ ] HOA or Estate Rules if any (ask seller)

vii [ ] Permits for renovations (ask seller)

viii [ ] Utilities: Locate shut-offs (water, gas, electric) etc (ask seller)

CONCLUSION

- Take detailed photos/videos of every area, especially issues.

- Test everything—run water, flush toilets, turn on all lights/AC/heat, open every door/window.

- Seasonal considerations: Some issues (e.g., roof leaks, drainage) show better in rain.

- Red flags warranting walk-away or big negotiation: Major foundation issues, roof near end-of-life, outdated electrical/plumbing, active leaks/mold.

- Always follow up with professional inspections (structural, electrical, plumbing, pest, radon, etc.) and review the full inspection report before closing.

Major Concerns / Items Needing Professional Inspection:

________________________________________________________________________________

________________________________________________________________________________

Overall Recommendation

[ ] Proceed

[ ] Negotiate Repairs

[ ] Walk Away

PHOTOS AND VIDEO TAKEN :			** Yes / No

Next Steps:

Hire licensed home inspector, review reports before closing.